## Power Generation & SCADA Operat
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
Thermal Plant | Boiler | MonitorBoilerParameters | DCS (ABB 800xA) | SCADA (Siemens Spectrum Power) | DCS OPC-UA | SCADA OPC-DA | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Thermal Plant | Turbine | AdjustGovernor | DCS (ABB 800xA) | Turbine Governor (Woodward) | DCS Modbus TCP | Governor Modbus RTU | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Thermal Plant | Generator | TransmitTelemetry | SCADA (Siemens Spectrum Power) | Plant Historian (OSIsoft PI) | SCADA API (ICCP) | PI Interface (OPC-DA) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Thermal Plant | Alarm | AlertOperator | DCS (ABB 800xA) | Alarm Management System | DCS OPC-A&E | Alarm API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Thermal Plant | Setpoint | AdjustBoilerFiringRate | Operator HMI | DCS (ABB 800xA) | HMI API (OAuth2) | DCS OPC-UA | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Thermal Plant | Trend | LogTrendData | Plant Historian (OSIsoft PI) | Reporting Database | PI API (REST) | SQL JDBC | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Thermal Plant | Performance | CalculateEfficiency | DCS (ABB 800xA) | Plant Historian (OSIsoft PI) | DCS OPC-UA | PI API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Thermal Plant | Vibration | MonitorVibration | DCS (ABB 800xA) | Condition Monitoring System | DCS OPC-UA | CMS API (Modbus TCP) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Renewable | Forecast | FetchWeatherForecast | RMS (GE Renewable) | Weather Forecasting Service | RMS API (REST) | Weather API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Renewable | Curtailment | ReceiveCurtailmentOrder | ISO Market Portal | SCADA (Siemens Spectrum Power) | ISO API (ICCP) | SCADA API (ICCP) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
Renewable | Dispatch | DispatchCurtailment | SCADA (Siemens Spectrum Power) | RMS (GE Renewable) | SCADA API (ICCP) | RMS API (Modbus TCP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Renewable | Solar | ReduceInverterOutput | RMS (GE Renewable) | Solar PV Inverters | RMS API (Modbus TCP) | Inverter API (SunSpec Modbus) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Renewable | Wind | ActivatePitchControl | RMS (GE Renewable) | Wind Turbine Controllers | RMS API (OPC-UA) | Turbine API (IEC 61400-25) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Renewable | Compliance | ConfirmCurtailment | SCADA (Siemens Spectrum Power) | ISO Market Portal | SCADA API (ICCP) | ISO API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Renewable | Report | LogCurtailmentEvent | RMS (GE Renewable) | Plant Historian (OSIsoft PI) | RMS API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
AGC | ACE | ReceiveACESignal | EMS (GE/Alstom) | AGC System | EMS API (ICCP) | AGC Internal Bus | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
AGC | Dispatch | CalculateGeneratorSetpoints | AGC System | SCADA (Siemens Spectrum Power) | AGC Internal Calc | SCADA API (ICCP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
AGC | Setpoint | DispatchRaiseCommand | SCADA (Siemens Spectrum Power) | Plant DCS (ABB 800xA) | SCADA API (ICCP) | DCS Modbus TCP | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
AGC | Response | MonitorRampResponse | AGC System | EMS (GE/Alstom) | AGC Internal | EMS API (ICCP) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
AGC | Compliance | VerifyACENERC | AGC System | EMS (GE/Alstom) | AGC Internal | EMS API (ICCP) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
AGC | Confirmation | SendLFCResponse | EMS (GE/Alstom) | ISO RTO System | EMS API (ICCP) | ISO API (ICCP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
AGC | Log | LogDispatchEvent | AGC System | Plant Historian (OSIsoft PI) | AGC API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Fuel | Inventory | CheckFuelInventory | Fuel Management System | DCS (ABB 800xA) | FMS API (REST) | DCS OPC-UA | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Fuel | Consumption | RecordDailyConsumption | DCS (ABB 800xA) | Fuel Management System | DCS OPC-UA | FMS API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Fuel | Order | PlaceFuelOrder | Fuel Management System | Vendor Portal | FMS API (REST) | Vendor EDI | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Emissions | CEMS | SampleStackEmissions | CEMS | Stack Analyzer | CEMS Serial (Modbus) | Analyzer 4-20mA | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Emissions | DCS | TransferEmissionsData | CEMS | DCS (ABB 800xA) | CEMS API (Modbus TCP) | DCS OPC-UA | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Emissions | EPA | ReportHourlyEmissions | CEMS | EPA CAMD Portal | CEMS API (REST) | EPA CAMD Web Services (SOAP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Emissions | Compliance | LogEmissionsReport | CEMS | Plant Historian (OSIsoft PI) | CEMS API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints

## Transmission Operations & EMS
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
EMS | Telemetry | ReceiveAnalogValues | RTU (SUB-MAIN-001) | SCADA (Siemens Spectrum Power) | RTU DNP3 | SCADA DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
EMS | StateEstimation | RunStateEstimation | EMS (Siemens Spectrum Power) | EMS (Siemens Spectrum Power) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
EMS | Alarm | ProcessLineAlarm | SCADA (Siemens Spectrum Power) | EMS (Siemens Spectrum Power) | SCADA API (ICCP) | EMS Internal | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
EMS | Contingency | RunContingencyAnalysis | EMS (Siemens Spectrum Power) | EMS (Siemens Spectrum Power) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
EMS | Control | ExecuteTapChange | EMS (Siemens Spectrum Power) | SCADA (Siemens Spectrum Power) | EMS API (ICCP) | SCADA DNP3 | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
EMS | Historian | LogSnapshot | EMS (Siemens Spectrum Power) | Plant Historian (OSIsoft PI) | EMS API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
EMS | Audit | LogOperatorAction | EMS (Siemens Spectrum Power) | Compliance Database | EMS API (REST) | SQL JDBC | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
EMS | Estimation | InjectMeasurements | SCADA | EMS State Estimator | SCADA API (ICCP) | Estimator API (Internal) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
EMS | Topology | ProcessTopology | EMS State Estimator | EMS Network Model | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
EMS | Contingency | EvaluateN-1Contingencies | EMS State Estimator | Contingency Analysis Module | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
EMS | Violation | IdentifyViolations | Contingency Analysis Module | Operator HMI | Internal | HMI API (REST) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
EMS | Action | SelectRemedialAction | Operator HMI | Contingency Analysis Module | HMI API (REST) | Internal | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
EMS | Dispatch | ImplementRedispatch | Operator HMI | SCADA | HMI API (REST) | SCADA API (ICCP) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
EMS | Log | LogSolvedState | EMS State Estimator | Plant Historian (OSIsoft PI) | EMS API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
WAMS | PMU | StreamPhasorData | PMU (SEL-421) | PDC (Phasor Data Concentrator) | PMU C37.118 | PDC C37.118 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
WAMS | Alignment | TimeAlignPhasors | PDC (Phasor Data Concentrator) | PDC (Phasor Data Concentrator) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
WAMS | Stream | StreamAlignedPhasors | PDC (Phasor Data Concentrator) | WAMS (GE PhasorPoint) | PDC C37.118 | WAMS C37.118 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
WAMS | Oscillation | DetectOscillations | WAMS (GE PhasorPoint) | WAMS (GE PhasorPoint) | Internal | Internal | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
WAMS | Alert | AlertOperatorOscillation | WAMS (GE PhasorPoint) | Operator HMI | WAMS API (REST) | HMI API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
WAMS | Historian | LogSynchrophasors | WAMS (GE PhasorPoint) | Plant Historian (OSIsoft PI) | WAMS API (REST) | PI API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
WAMS | EMS | TransferWAMSData | WAMS (GE PhasorPoint) | EMS | WAMS API (ICCP) | EMS API (ICCP) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Switching | Order | CreateSwitchingOrder | Switching Scheduler | Switching Management System | Scheduler UI | SMS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Switching | Approval | ApproveSwitchingOrder | Switching Management System | Operator HMI | SMS API (REST) | HMI API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Switching | Clearance | RequestClearance | Operator HMI | Clearance & Tagging System | HMI API (REST) | Clearance API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Switching | Tag | ApplyTag | Clearance & Tagging System | SCADA | Clearance API (REST) | SCADA API (ICCP) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
Switching | Breaker | OpenBreaker | Operator HMI | SCADA | HMI API (REST) | SCADA DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Switching | Field | ReleaseToWork | Switching Management System | Mobile Field App | SMS API (REST) | Field App API (OAuth2) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Switching | Restore | RestoreLine | Operator HMI | SCADA | HMI API (REST) | SCADA DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Switching | Close | CloseSwitchingOrder | Switching Management System | Switching Scheduler | SMS API (REST) | Scheduler UI | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup

## Substation Automation & Protect
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
Substation | Status | ReadBreakerStatus | RTU (SEL-3530) | Breaker Control | RTU I/O | Breaker Aux Contact | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Substation | Analog | ReadAnalogValues | RTU (SEL-3530) | CT/PT | RTU Analog Input | CT/PT Secondary | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Substation | SCADA | ReportByException | RTU (SEL-3530) | Substation SCADA Concentrator | RTU DNP3 | SCADA DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Substation | EMS | TransmitToEMS | Substation SCADA Concentrator | EMS (Siemens Spectrum Power) | SCADA API (ICCP) | EMS API (ICCP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Substation | Control | SBOCommand | EMS (Siemens Spectrum Power) | Substation SCADA Concentrator | EMS API (ICCP) | SCADA DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Substation | Event | LogSOEEvent | RTU (SEL-3530) | Substation SCADA Concentrator | RTU DNP3 | SCADA DNP3 | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
Substation | Historian | StreamAnalogData | RTU (SEL-3530) | Plant Historian (OSIsoft PI) | RTU DNP3 | PI Interface (DNP3) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Protection | Settings | ReadRelaySettings | Protection Management System | Relay (SEL-421) | PMS API (REST) | Relay Serial (SEL Protocol) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Protection | Validation | ValidateRelaySettings | Protection Management System | Protection Management System | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
Protection | Write | WriteSettingsGroup | Protection Management System | Relay (SEL-421) | PMS API (REST) | Relay Serial (SEL Protocol) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Protection | Events | RetrieveFaultRecords | Engineer HMI | Relay (SEL-421) | HMI API (REST) | Relay Serial (SEL Protocol) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Protection | Disturbance | StoreCOMTRADE | Fault Recorder | Protection Management System | Fault Recorder API | PMS API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Protection | Analysis | AnalyzeDisturbance | Protection Management System | Engineer HMI | PMS API (REST) | HMI API (REST) | Batch (Real-time) | Simple | Minimal near-real-time batch with basic data pass-through
Protection | TimeSync | SyncRelayTime | Time Sync (GPS) | Relay (SEL-421) | GPS IRIG-B | Relay IRIG-B | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
IEC61850 | SV | StreamSampledValues | Merge Unit | Bay Controller | SV (IEC 61850-9-2) | SV (IEC 61850-9-2) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
IEC61850 | GOOSE | TripGOOSEMessage | Bay Controller | Relay | GOOSE (IEC 61850-8-1) | GOOSE (IEC 61850-8-1) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
IEC61850 | MMS | ReportMMSData | Bay Controller | SCADA Gateway | MMS (IEC 61850-8-1) | MMS (IEC 61850-8-1) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
IEC61850 | Gateway | ConvertToDNP3 | SCADA Gateway | EMS | Gateway Internal | DNP3 (IEC 61850 to DNP3) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
IEC61850 | Config | ConfigureGOOSE | Engineer Workstation | Network Switch | Engineering Tool | Switch CLI/SNMP | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
IEC61850 | PTP | SyncPTPTime | PTP Grandmaster | Merge Unit | PTP (IEEE 1588) | PTP (IEEE 1588) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
IEC61850 | Health | MonitorNetworkHealth | Network Switch | Substation HMI | SNMP | HMI API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Security | Physical | BadgeAccess | Badge Reader | Access Control System | Badge Reader Wiegand | ACS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Security | Video | RecordMotionEvent | Camera (IP) | Video Management System | Camera RTSP | VMS API (ONVIF) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Security | Cyber | RequestVPNAccess | Remote Technician | Cyber Access Gateway | VPN Client | Gateway API (RADIUS) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Security | MFA | ChallengeMFA | Cyber Access Gateway | MFA Server (RSA) | Gateway API (RADIUS) | MFA API (RADIUS/HTTP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Security | SIEM | LogAccessEvent | Relay (SEL-421) | SIEM (Splunk) | Syslog | SIEM API (Syslog) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Security | CIP | AuditAccessLogs | Compliance Lead | CIP Compliance Database | CIP UI | CIP DB API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Security | Report | GenerateCIPReport | CIP Compliance Database | Compliance Lead | CIP DB API (REST) | CIP UI | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints

## Distribution Grid & ADMS
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
Distribution | Telemetry | ReportFeederValues | RTU (Feeder) | ADMS (GE Grid Solutions) | RTU DNP3 | ADMS DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Distribution | SCADA | UpdateTopology | ADMS (GE Grid Solutions) | ADMS (GE Grid Solutions) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
Distribution | Capacitor | MonitorCapacitorBank | Capacitor Bank Controller | ADMS (GE Grid Solutions) | Capacitor DNP3 | ADMS DNP3 | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Distribution | Regulator | ReadRegulatorTap | Voltage Regulator Control | ADMS (GE Grid Solutions) | Regulator DNP3 | ADMS DNP3 | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Distribution | VoltVAR | ExecuteVoltVARControl | ADMS (GE Grid Solutions) | Capacitor Bank Controller | ADMS DNP3 | Capacitor DNP3 | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Distribution | Optimize | OptimizePowerFactor | ADMS (GE Grid Solutions) | ADMS (GE Grid Solutions) | Internal | Internal | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
Distribution | Historian | LogDistributionState | ADMS (GE Grid Solutions) | Plant Historian (OSIsoft PI) | ADMS API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
DER | Register | RegisterDERSite | DER Customer Portal | DERMS (Generac) | Customer UI | DERMS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
DER | Poll | PollInverterFleet | DERMS (Generac) | DER Inverters | DERMS API (Modbus TCP) | Inverter API (SunSpec) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DER | Dispatch | ReceiveDispatchRequest | ADMS (GE Grid Solutions) | DERMS (Generac) | ADMS API (ICCP) | DERMS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
DER | Battery | DischargeBattery | DERMS (Generac) | Battery Inverters | DERMS API (Modbus TCP) | Inverter API (SunSpec) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
DER | Meter | VerifyLoadReduction | DERMS (Generac) | Meter Data System | DERMS API (REST) | Meter API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
DER | Settlement | SubmitSettlementData | DERMS (Generac) | ISO Market Portal | DERMS API (REST) | ISO API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
DER | Payment | NotifyDERPayment | DERMS (Generac) | DER Customer Portal | DERMS API (REST) | Customer UI | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
FLISR | Fault | DetectFaultAlarm | SCADA RTU | ADMS (GE Grid Solutions) | RTU DNP3 | ADMS DNP3 | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
FLISR | Analysis | RunFLISRAnalysis | ADMS (GE Grid Solutions) | ADMS (GE Grid Solutions) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
FLISR | Isolate | OpenIsolationSwitch | ADMS (GE Grid Solutions) | SCADA RTU | ADMS DNP3 | RTU DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
FLISR | Restore | CloseTieSwitch | ADMS (GE Grid Solutions) | SCADA RTU | ADMS DNP3 | RTU DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
FLISR | OMS | CreateOutageEvent | ADMS (GE Grid Solutions) | Outage Management System | ADMS API (REST) | OMS API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
FLISR | Dispatch | DispatchCrew | Outage Management System | Mobile Field Crew App | OMS API (REST) | Field App API (OAuth2) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
FLISR | Restore | RestoreNormalConfig | Operator HMI | ADMS (GE Grid Solutions) | HMI API (REST) | ADMS DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Planning | Model | ExportNetworkModel | GIS (ArcGIS Utility Network) | Distribution Planning System | GIS API (REST) | Planning API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Planning | Forecast | ImportPeakForecast | Load Forecasting System | Distribution Planning System | Forecast API (REST) | Planning API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Planning | Flow | RunLoadFlowAnalysis | Distribution Planning System | Distribution Planning System | Internal | Internal | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
Planning | Options | AnalyzeMitigationOptions | Distribution Planning System | Distribution Planning System | Internal | Internal | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
Planning | GIS | UpdatePlanningModel | Distribution Planning System | GIS (ArcGIS Utility Network) | Planning API (REST) | GIS API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Planning | ADMS | DeployVoltVARSettings | Distribution Planning System | ADMS (GE Grid Solutions) | Planning API (REST) | ADMS API (ICCP) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Planning | Budget | SubmitBudgetRequest | Planning Engineer | Asset Management System | Planning UI | Asset API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup

## Water Treatment Plant Operation
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
Water Treatment | Raw Water | SampleRawWater | Water Quality Analyzer | SCADA (EcoStruxure) | Analyzer Modbus RTU | SCADA Modbus TCP | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Water Treatment | Dosing | SetChemicalDose | DCS (Rockwell PlantPAx) | Chemical Dosing System | DCS OPC-UA | Dosing Pump PLC | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Water Treatment | Mixing | AdjustFlashMixerSpeed | DCS (Rockwell PlantPAx) | Flash Mixer VFD | DCS OPC-UA | VFD Modbus RTU | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Water Treatment | Settled | MonitorSettledWater | SCADA (EcoStruxure) | DCS (Rockwell PlantPAx) | SCADA OPC-DA | DCS OPC-UA | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Water Treatment | Lab | AnalyzeJarTest | Lab Information System | SCADA (EcoStruxure) | LIS API (REST) | SCADA API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Water Treatment | Chemical | LogChemicalUsage | DCS (Rockwell PlantPAx) | Plant Historian (OSIsoft PI) | DCS OPC-UA | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Water Treatment | Compliance | RecordRawWaterQuality | SCADA (EcoStruxure) | Compliance Database | SCADA API (REST) | SQL JDBC | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Filtration | Filter | MonitorFilterPerformance | SCADA (EcoStruxure) | DCS (Rockwell PlantPAx) | SCADA OPC-DA | DCS OPC-UA | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Filtration | Backwash | InitiateBackwashSequence | DCS (Rockwell PlantPAx) | Filter Control System | DCS OPC-UA | Filter PLC | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Filtration | Chlorine | AnalyzeChlorineResidual | Chlorine Analyzer | SCADA (EcoStruxure) | Analyzer 4-20mA | SCADA Modbus TCP | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Filtration | CT | CalculateCTValue | SCADA (EcoStruxure) | DCS (Rockwell PlantPAx) | SCADA API (REST) | DCS OPC-UA | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Filtration | Clearwell | MonitorClearwellLevel | Clearwell Level Sensor | SCADA (EcoStruxure) | Sensor 4-20mA | SCADA Modbus RTU | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Filtration | pH | AdjustFinishedWaterpH | DCS (Rockwell PlantPAx) | Chemical Dosing System | DCS OPC-UA | Dosing Pump PLC | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Filtration | Compliance | LogFinishedWaterQuality | SCADA (EcoStruxure) | Compliance Database | SCADA API (REST) | SQL JDBC | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Maintenance | PM | CheckPMPriority | CMMS (IBM Maximo) | SCADA (EcoStruxure) | Maximo API (REST) | SCADA API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Maintenance | WO | CreateWorkOrder | CMMS (IBM Maximo) | CMMS (IBM Maximo) | Internal | Internal | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Maintenance | Parts | ReserveSpareParts | CMMS (IBM Maximo) | Inventory System | Maximo API (REST) | Inventory API (SOAP) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Maintenance | Shutdown | CoordinatePumpShutdown | CMMS (IBM Maximo) | DCS (Rockwell PlantPAx) | Maximo API (REST) | DCS OPC-UA | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Maintenance | Isolation | IsolateEquipment | Operator HMI | DCS (Rockwell PlantPAx) | HMI API | DCS OPC-UA | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Maintenance | Vendor | DispatchTech | CMMS (IBM Maximo) | Vendor Portal | Maximo API (REST) | Vendor API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Maintenance | Close | CloseWorkOrder | Tech Mobile App | CMMS (IBM Maximo) | Mobile API (OAuth2) | Maximo API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Water Quality | Sample | EnterLabResults | LIMS | SCADA (EcoStruxure) | LIMS API (REST) | SCADA API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Water Quality | Correlation | CrossReferenceOnline | SCADA (EcoStruxure) | LIMS | SCADA API (REST) | LIMS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Water Quality | Sampling | CollectDistributionSample | Operator Mobile App | SCADA (EcoStruxure) | Mobile API (OAuth2) | SCADA API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Water Quality | Bacteriological | AnalyzeColiformSample | LIMS | LIMS | Internal | Internal | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Water Quality | Reporting | SubmitSDWISReport | Compliance System | State Drinking Water Portal (SDWIS) | Compliance API (REST) | SDWIS API (SOAP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Water Quality | Archive | ArchiveComplianceData | Compliance System | LIMS | Compliance API (REST) | LIMS API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Water Quality | Limits | UpdateControlLimits | Compliance System | SCADA (EcoStruxure) | Compliance API (REST) | SCADA API (REST) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics

## Water Distribution Network Mana
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
Pressure | PRV | MonitorPRVDownstream | SCADA (EcoStruxure) | PRV Controller (Zone 3) | SCADA Modbus RTU | PRV Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Pressure | Booster | StartBoosterPump | SCADA (EcoStruxure) | Pump Station PLC | SCADA Modbus TCP | PLC Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Pressure | Monitoring | MonitorZonePressure | SCADA (EcoStruxure) | Operator HMI | SCADA API (REST) | HMI Display | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Pressure | PRV | AdjustPRVSetpoint | SCADA (EcoStruxure) | PRV Controller (Zone 5) | SCADA Modbus RTU | PRV Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Pressure | Model | ValidateHydraulicModel | Hydraulic Model Software | SCADA (EcoStruxure) | Model API (REST) | SCADA API (REST) | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
Pressure | Log | LogPressureEvent | SCADA (EcoStruxure) | Plant Historian (OSIsoft PI) | SCADA API (REST) | PI API (REST) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
Pressure | Field | ConfirmFieldCheck | Field Tech Mobile App | SCADA (EcoStruxure) | Mobile API (OAuth2) | SCADA API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Leak | DMA | AnalyzeMinimumNightFlow | SCADA (EcoStruxure) | DMA Flow Analyzer | SCADA API (REST) | DMA API (REST) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Leak | Alert | FlagLeakCandidate | DMA Flow Analyzer | Operator Console | DMA API (REST) | SCADA HMI | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
Leak | GIS | IdentifyPipeAsset | GIS (ArcGIS) | Operator Console | GIS API (REST) | SCADA HMI | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Leak | Acoustic | DeployLeakSensors | Acoustic Leak Detection System | Field Tech Mobile App | Acoustic API (REST) | Mobile API (OAuth2) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Leak | Isolation | IsolateLeakZone | SCADA (EcoStruxure) | Valve Controllers | SCADA Modbus RTU | Valve PLC Modbus | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Leak | Repair | CreateRepairWorkOrder | Operator Console | CMMS (IBM Maximo) | SCADA API (REST) | Maximo API (REST) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
Leak | NRW | CalculateNRWReduction | DMA Flow Analyzer | Water Loss System | DMA API (REST) | Water Loss API | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Tank | Level | ReadTankLevel | Tank Level Sensor | SCADA (EcoStruxure) | Sensor 4-20mA | SCADA Modbus RTU | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Tank | Fill | StartNightFillPump | SCADA (EcoStruxure) | Pump Station PLC | SCADA Modbus TCP | PLC Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Tank | Energy | CheckOffPeakRates | Energy Management System | SCADA (EcoStruxure) | EMS API (REST) | SCADA API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Tank | Optimization | AdjustPumpCombo | SCADA (EcoStruxure) | Pump VFD | SCADA Modbus TCP | VFD Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Tank | Schedule | MonitorFillProgress | SCADA (EcoStruxure) | Operator HMI | SCADA API (REST) | HMI Display | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Tank | Draw | MonitorMorningDraw | SCADA (EcoStruxure) | Plant Historian (OSIsoft PI) | SCADA API (REST) | PI API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Tank | Optimization | CalculateEnergySavings | Energy Management System | Plant Historian (OSIsoft PI) | EMS API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Hydrant | Valve | ExerciseValve | Field Crew Mobile App | GIS (ArcGIS) | Mobile API (OAuth2) | GIS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Hydrant | Exercise | LogValveExercise | Field Crew Mobile App | CMMS (IBM Maximo) | Mobile API (OAuth2) | Maximo API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Hydrant | FlowTest | RecordHydrantFlowTest | Field Crew Mobile App | SCADA (EcoStruxure) | Mobile API (OAuth2) | SCADA API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Hydrant | CFactor | UpdatePipeCFactor | Hydrant Management System | GIS (ArcGIS) | Hydrant API (REST) | GIS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Hydrant | MainBreak | AlertMainBreak | Field Crew Mobile App | SCADA (EcoStruxure) | Mobile API (OAuth2) | SCADA API (REST) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
Hydrant | Isolation | IsolateMainBreak | SCADA (EcoStruxure) | Valve Controllers | SCADA Modbus RTU | Valve PLC Modbus | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Hydrant | WO | CreateEmergencyWorkOrder | Field Crew Mobile App | CMMS (IBM Maximo) | Mobile API (OAuth2) | Maximo API (REST) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics

## Wastewater Collection & Treatme
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
LiftStation | Level | ReadWetWellLevel | Level Sensor (LS-001) | Lift Station PLC (LS-001) | Sensor 4-20mA | PLC Analog Input | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
LiftStation | Pump | StartLiftStationPump | SCADA (EcoStruxure) | Lift Station PLC (LS-001) | SCADA Modbus TCP | PLC Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
LiftStation | Alarm | MonitorHighLevelAlarm | Lift Station PLC (LS-007) | SCADA (EcoStruxure) | PLC Modbus RTU | SCADA Modbus TCP | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
LiftStation | Dispatch | DispatchCrew | SCADA (EcoStruxure) | CMMS (IBM Maximo) | SCADA API (REST) | Maximo API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
LiftStation | Field | OnsiteAssessment | Field Tech Mobile App | CMMS (IBM Maximo) | Mobile API (OAuth2) | Maximo API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
LiftStation | PM | CreatePmWorkOrder | SCADA (EcoStruxure) | CMMS (IBM Maximo) | SCADA API (REST) | Maximo API (REST) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
LiftStation | Log | LogAlarmEvent | SCADA (EcoStruxure) | Plant Historian (OSIsoft PI) | SCADA API (REST) | PI API (REST) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
Treatment | Influent | MonitorPlantInfluent | SCADA (EcoStruxure) | DCS (Rockwell PlantPAx) | SCADA OPC-DA | DCS OPC-UA | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Treatment | DO | AdjustAerationDO | DCS (Rockwell PlantPAx) | Aeration Control System | DCS OPC-UA | Blower PLC Modbus | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Treatment | SVI | MeasureSludgeSettleability | Biological Process Analyzer | DCS (Rockwell PlantPAx) | Analyzer Modbus RTU | DCS OPC-UA | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Treatment | WAS | AdjustWasteActivatedSludge | DCS (Rockwell PlantPAx) | WAS Valve Actuator | DCS OPC-UA | Valve Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Treatment | UV | SetUvDose | SCADA (EcoStruxure) | UV Disinfection System | SCADA Modbus TCP | UV System Modbus | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Treatment | Effluent | MonitorFinalEffluent | SCADA (EcoStruxure) | Effluent Analyzers | SCADA Modbus TCP | Analyzer 4-20mA | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Treatment | Compliance | LogEffluentQuality | DCS (Rockwell PlantPAx) | Plant Historian (OSIsoft PI) | DCS OPC-UA | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Effluent | Analyzer | ReadEffluentParameters | Online Analyzers | SCADA (EcoStruxure) | Analyzer Modbus RTU | SCADA Modbus TCP | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Effluent | Composite | CollectCompositeSample | Auto-Sampler | SCADA (EcoStruxure) | Sampler Modbus | SCADA Modbus TCP | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Effluent | Lab | AnalyzeLabComposite | LIMS | SCADA (EcoStruxure) | LIMS API (REST) | SCADA API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Effluent | DMR | SubmitMonthlyDMR | Compliance System | EPA ICIS-NPDES Portal | Compliance API (REST) | EPA CDX (SOAP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Effluent | Bypass | MonitorWetWeatherFlow | SCADA (EcoStruxure) | Equalization Basin System | SCADA Modbus TCP | EQ Basin PLC Modbus | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Effluent | Permit | UpdatePermitLimits | Compliance System | SCADA (EcoStruxure) | Compliance API (REST) | SCADA API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Effluent | Archive | ArchiveNpdesData | SCADA (EcoStruxure) | Plant Historian (OSIsoft PI) | SCADA API (REST) | PI API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Biosolids | Thickening | StartGravityBeltThickener | DCS (Rockwell PlantPAx) | Sludge Thickener PLC | DCS OPC-UA | Thickener PLC Modbus | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Biosolids | Digester | FeedAnaerobicDigester | DCS (Rockwell PlantPAx) | Digester Control System | DCS OPC-UA | Digester PLC Modbus | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Biosolids | Gas | MonitorBiogasProduction | Digester Control System | SCADA (EcoStruxure) | Digester Modbus | SCADA Modbus TCP | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Biosolids | Dewatering | StartCentrifuge | DCS (Rockwell PlantPAx) | Centrifuge PLC | DCS OPC-UA | Centrifuge Modbus RTU | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Biosolids | Loadout | RecordBiosolidsLoadout | Biosolids Tracking System | Weigh Scale System | Biosolids API (REST) | Scale API (Serial) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Biosolids | Compliance | ReportBiosolids503 | SCADA (EcoStruxure) | Compliance System | SCADA API (REST) | Compliance API (REST) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Biosolids | Optimization | AdjustDigesterFeedRate | DCS (Rockwell PlantPAx) | Digester Control System | DCS OPC-UA | Digester PLC Modbus | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation

## Metering & Smart Grid
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
AMI | Interval | CollectIntervalRead | Smart Meter (Itron OpenWay) | AMI Head-End (Itron OMS/IEE) | RF Mesh | Head-End WAN | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
AMI | VEE | ValidateMeterReading | AMI Head-End (Itron OMS/IEE) | MDM | Head-End API (SOAP) | MDM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
AMI | Alarm | ProcessTamperAlarm | Smart Meter (Itron OpenWay) | AMI Head-End (Itron OMS/IEE) | RF Mesh | Head-End Event Bus | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
AMI | Diagnostics | QueryMeterDiagnostics | AMI Head-End (Itron OMS/IEE) | Smart Meter (Itron OpenWay) | Head-End API (SOAP) | RF Mesh | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
AMI | Firmware | PushFirmwareUpdate | AMI Head-End (Itron OMS/IEE) | Smart Meter (Itron OpenWay) | Head-End FW Server | RF Mesh (Over-the-Air) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
AMI | Network | MonitorNetworkHealth | Network Management System | Operator Console | NetMgmt API (SNMP) | SCADA HMI | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
AMI | Summary | GenerateDailyReadSummary | AMI Head-End (Itron OMS/IEE) | MDM | Head-End API (SOAP) | MDM API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints

## Customer Engagement & Demand Re
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
Customer Portal | Login | AuthenticateCustomer | Customer Portal | CIS (Oracle Utilities) | Portal API (OAuth2) | CIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Customer Portal | Usage | FetchUsageData | Customer Portal | MDM | Portal API (OAuth2) | MDM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Customer Portal | Outage | CheckOutageStatus | Customer Portal | OMS | Portal API (OAuth2) | OMS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Customer Portal | Payment | ProcessBillPayment | Customer Portal | Payment Gateway (CyberSource) | Portal API (OAuth2) | Payment GW API (REST/SOAP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Customer Portal | Balance | UpdateCustomerBalance | Customer Portal | CIS (Oracle Utilities) | Portal API (OAuth2) | CIS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Customer Portal | Ticket | CreateTroubleTicket | Customer Portal | OMS | Portal API (OAuth2) | OMS API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Customer Portal | Survey | SubmitCSATSurvey | Customer Portal | Analytics Platform | Portal API (OAuth2) | Analytics API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
OpenADR | Event | CreateDREvent | DR Operator HMI | OpenADR VTN (EPRI OpenADR) | Operator UI (REST) | VTN API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
OpenADR | Publish | PublishDREvent | OpenADR VTN (EPRI OpenADR) | VEN (Customer) | VTN OpenADR 2.0b | VEN OpenADR 2.0b | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
OpenADR | Opt | ProcessOptInOut | VEN (Customer) | OpenADR VTN (EPRI OpenADR) | VEN OpenADR 2.0b | VTN OpenADR 2.0b | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
OpenADR | Telemetry | ReportVENLoad | VEN (Customer) | OpenADR VTN (EPRI OpenADR) | VEN OpenADR 2.0b | VTN OpenADR 2.0b | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
OpenADR | Meter | FetchIntervalData | OpenADR VTN (EPRI OpenADR) | MDM | VTN API (REST) | MDM API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
OpenADR | Settlement | SubmitSettlementData | OpenADR VTN (EPRI OpenADR) | ISO Market System | VTN API (REST) | ISO API (REST) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
OpenADR | Report | GeneratePostEventReport | OpenADR VTN (EPRI OpenADR) | DRMS | VTN API (REST) | DRMS API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
DRMS | Design | DesignDRProgram | DR Program Manager | DRMS | Manager UI (REST) | DRMS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
DRMS | Eligibility | IdentifyEligibleCustomers | DRMS | CRM (Salesforce) | DRMS API (REST) | CRM API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
DRMS | Enroll | EnrollCustomerProgram | Customer Portal | DRMS | Portal API (OAuth2) | DRMS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
DRMS | Validate | ValidateCustomerAccount | DRMS | CIS (Oracle Utilities) | DRMS API (REST) | CIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DRMS | Event | TriggerDREvent | DR Program Manager | DRMS | Manager UI (REST) | DRMS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DRMS | Measurement | VerifyLoadReduction | DRMS | MDM | DRMS API (REST) | MDM API (REST) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
DRMS | Incentive | ApplyIncentiveCredit | DRMS | CIS (Oracle Utilities) | DRMS API (REST) | CIS API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
DER Enrollment | Apply | SubmitDERApplication | DER Portal | CIS (Oracle Utilities) | Portal API (OAuth2) | CIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DER Enrollment | Lead | CreateCRMLead | DER Portal | CRM (Salesforce) | Portal API (OAuth2) | CRM API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
DER Enrollment | Review | CheckTransformerCapacity | GIS (ArcGIS) | DER Portal | GIS API (REST) | Portal API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DER Enrollment | Inspect | ScheduleSiteInspection | DER Portal | Inspector Mobile App | Portal API (REST) | Field App API (OAuth2) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DER Enrollment | Meter | ExchangeNetMeter | DER Portal | MDM | Portal API (REST) | MDM API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
DER Enrollment | DerMs | EnrollCustomerDERMS | DER Portal | DERMS | Portal API (REST) | DERMS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DER Enrollment | Notify | SendWelcomeNotification | DER Portal | Notification Service | Portal API (REST) | Notification API (Email/SMS) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics

## Billing, CIS & Revenue Manageme
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
CIM | Validation | ValidatePremiseAddress | IVR | CIS (Oracle Utilities) | IVR API (SOAP) | CIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CIM | Account | CreateCustomerAccount | CSR HMI | CIS (Oracle Utilities) | CSR UI | CIS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CIM | Contact | CreateCRMContact | CIS (Oracle Utilities) | CRM (Salesforce) | CIS API (REST) | CRM API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
CIM | Service | CreateServiceOrder | CIS (Oracle Utilities) | Field Service Management | CIS API (REST) | FSM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CIM | Dispatch | DispatchFieldTech | Field Service Management | Tech Mobile App | FSM API (REST) | Mobile App API (OAuth2) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CIM | Meter | ActivateMeterMDM | CIS (Oracle Utilities) | MDM | CIS API (REST) | MDM API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CIM | Update | ProcessNameChange | CSR HMI | CIS (Oracle Utilities) | CSR UI | CIS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Billing | Data | PullIntervalData | CIS Billing Engine | MDM | Billing API (REST) | MDM API (REST) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Billing | Rate | FetchRateTariff | CIS Billing Engine | Rate/Tariff System | Billing API (REST) | Rate API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Billing | Calc | CalculateCharges | CIS Billing Engine | CIS Billing Engine | Internal | Internal | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Billing | GL | PostGLEntries | CIS Billing Engine | ERP (SAP) | CIS API (REST) | ERP API (SOAP/IDoc) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Billing | Present | GenerateBillPDF | CIS Billing Engine | Bill Print Vendor | CIS API (REST) | Print Vendor API (SFTP) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Billing | Ebill | PostElectronicBill | CIS Billing Engine | Customer Portal | CIS API (REST) | Portal API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Billing | Exception | ReviewBillingExceptions | CIS Billing Engine | Billing Analyst UI | CIS API (REST) | Analyst UI | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Payment | Online | ProcessOnlinePayment | Customer Portal | Payment Gateway (CyberSource) | Portal API (OAuth2) | Payment GW API (REST/SOAP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Payment | Posting | RecordPaymentCIS | Customer Portal | CIS (Oracle Utilities) | Portal API (OAuth2) | CIS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Payment | Lockbox | ProcessCheckBatch | Lockbox | CIS (Oracle Utilities) | Lockbox BAI2 | CIS API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Payment | NSF | ProcessNSFCheck | CIS (Oracle Utilities) | Collections System | CIS API (REST) | Collections API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Payment | Plan | CreatePaymentPlan | IVR | CIS (Oracle Utilities) | IVR API (SOAP) | CIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Payment | Disconnect | IssueDisconnectOrder | CIS (Oracle Utilities) | Field Service Management | CIS API (REST) | FSM API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Payment | Reconnect | ProcessReconnection | CIS (Oracle Utilities) | Field Service Management | CIS API (REST) | FSM API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Revenue | Audit | RunRevenueAssuranceAudit | Revenue Assurance Analyst | Revenue Assurance System | Analyst UI | RA API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Revenue | Extract | ExtractBillingData | Revenue Assurance System | CIS (Oracle Utilities) | RA API (REST) | CIS API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Revenue | Leakage | DetectRevenueLeakage | Revenue Assurance System | Revenue Assurance System | Internal | Internal | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Revenue | Tariff | DeployRateChange | Rate/Tariff System | CIS (Oracle Utilities) | Rate API (REST) | CIS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Revenue | GreenButton | ExportGreenButtonXML | Revenue Assurance System | Green Button Platform | RA API (REST) | Green Button API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Revenue | WriteOff | ProcessWriteOffs | Revenue Assurance System | CIS (Oracle Utilities) | RA API (REST) | CIS API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Revenue | Report | GenerateRegulatoryReport | Revenue Assurance System | Compliance Officer | RA API (REST) | Compliance UI | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints

## Outage & Workforce Management
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
ODI | AMILastGasp | ProcessLastGaspAlert | AMI Head-End | OMS (Oracle Utilities) | AMI API (REST) | OMS API (REST) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
ODI | SCADATrip | ProcessBreakerTrip | SCADA | OMS (Oracle Utilities) | SCADA API (ICCP) | OMS API (REST) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
ODI | Correlation | CorrelateOutageEvents | OMS (Oracle Utilities) | OMS (Oracle Utilities) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
ODI | IVR | UpdateIVROutageStatus | OMS (OracleUtilities) | IVR | OMS API (REST) | IVR API (SOAP) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
ODI | Customer | LogCustomerOutageCall | IVR | OMS (Oracle Utilities) | IVR API (SOAP) | OMS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
ODI | Notification | SendOutageNotifications | OMS (Oracle Utilities) | Outage Notification System | OMS API (REST) | Notification API (Email/SMS) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
ODI | Priority | UpdateMedicalPriority | Call Center Agent | OMS (Oracle Utilities) | Agent HMI | OMS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
DAS | Scope | ReviewOutageScope | System Operator HMI | OMS (Oracle Utilities) | Operator UI | OMS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
DAS | Status | CheckBreakerStatus | System Operator HMI | SCADA | Operator UI | SCADA API (ICCP) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DAS | GIS | AnalyzeFaultArea | System Operator HMI | GIS (ArcGIS) | Operator UI | GIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DAS | Assessment | DispatchDamageAssessment | OMS (Oracle Utilities) | Mobile Crew App | OMS API (REST) | Mobile App API (OAuth2) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
DAS | Switching | CreateSwitchingOrder | System Operator HMI | Switching Order Management | Operator UI | Switching API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
DAS | Isolate | ExecuteSwitchingIsolation | Switching Order Management | SCADA | Switching API (REST) | SCADA DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
DAS | Restore | CloseTieSwitchRestore | Switching Order Management | SCADA | Switching API (REST) | SCADA DNP3 | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CDR | Order | CreateRestorationOrder | OMS (Oracle Utilities) | WFM (Mobile Workforce) | OMS API (REST) | WFM API (REST) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
CDR | Dispatch | AssignCrewToJob | WFM (Mobile Workforce) | Mobile Crew App | WFM API (REST) | Mobile App API (OAuth2) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CDR | Tracking | TrackCrewETA | Mobile Crew App (GPS) | WFM (Mobile Workforce) | Mobile GPS (AVL) | WFM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CDR | Materials | CheckMaterialAvailability | Mobile Crew App | CMMS (Maximo) | Mobile App API (OAuth2) | CMMS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CDR | Inventory | ReserveAndIssueMaterial | CMMS (Maximo) | Inventory System | CMMS API (REST) | Inventory API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CDR | Restore | NotifyRestorationReady | Mobile Crew App | OMS (Oracle Utilities) | Mobile App API (OAuth2) | OMS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CDR | Report | CloseRestorationOrder | OMS (OracleUtilities) | WFM (Mobile Workforce) | OMS API (REST) | WFM API (REST) | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
OAR | Data | ExportOutageData | OMS (Oracle Utilities) | Analytics Platform | OMS API (REST) | Analytics API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
OAR | Metrics | CalculateReliabilityMetrics | Analytics Platform | Analytics Platform | Internal | Internal | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
OAR | RootCause | AnalyzeRootCause | Analytics Platform | Reliability Engineer | Analytics API (REST) | Engineer UI | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
OAR | Spatial | ExportOutageGISMap | GIS (ArcGIS) | Analytics Platform | GIS API (REST) | Analytics API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
OAR | Plan | UpdateCapitalPlan | Reliability Engineer | Planning System | Engineer UI | Planning API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
OAR | Compliance | GenerateRegulatoryReport | Analytics Platform | Compliance Reporting | Analytics API (REST) | Compliance API (REST) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
OAR | Submit | SubmitToRegulatoryPortal | Compliance Manager | Regulatory Portal | Compliance UI | Reg Portal API (REST/SOAP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation

## Asset Management & GIS
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
ARH | Create | CreateAssetRecord | Mobile Field App | EAM (IBM Maximo) | Mobile App API (OAuth2) | EAM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
ARH | Hierarchy | BuildAssetHierarchy | EAM (IBM Maximo) | EAM (IBM Maximo) | Internal | Internal | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
ARH | Criticality | AssessAssetCriticality | Engineer HMI | EAM (IBM Maximo) | Engineer UI | EAM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
ARH | GIS | SyncAssetToGIS | EAM (IBM Maximo) | GIS (ArcGIS) | EAM API (REST) | GIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
ARH | Financial | CapitalizeAssetERP | EAM (IBM Maximo) | ERP (SAP) | EAM API (REST) | ERP API (SOAP/IDoc) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
ARH | Field | VerifyAssetLocation | Mobile Field App | EAM (IBM Maximo) | Mobile App API (OAuth2) | EAM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
ARH | Report | GenerateAssetRegistryReport | EAM (IBM Maximo) | Asset Manager UI | EAM API (REST) | Manager UI | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
GIS | Survey | UploadFieldSurvey | Mobile Data Collector | GIS (ArcGIS Utility Network) | Mobile App API (OAuth2) | GIS API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
GIS | Topology | ValidateNetworkTopology | GIS (ArcGIS Utility Network) | GIS (ArcGIS Utility Network) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
GIS | Asset | CreateGISAsset | GIS (ArcGIS Utility Network) | EAM (IBM Maximo) | GIS API (REST) | EAM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
GIS | Trace | TraceFeederSource | GIS Analyst HMI | GIS (ArcGIS Utility Network) | Analyst UI | GIS API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
GIS | OMS | ExportNetworkToOMS | GIS (ArcGIS Utility Network) | OMS | GIS API (REST) | OMS API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
GIS | SCADA | ExportNetworkToSCADA | GIS (ArcGIS Utility Network) | SCADA | GIS API (REST) | SCADA API (ICCP) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
GIS | Report | GenerateNetworkReport | GIS (ArcGIS Utility Network) | GIS Analyst HMI | GIS API (REST) | Analyst UI | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
CMI | Sensor | PublishSensorReading | Sensor (IoT) | IoT Platform (C3 AI / AWS IoT) | MQTT (JSON) | IoT API (MQTT/HTTP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CMI | DGA | PublishDGAData | DGA Monitor | IoT Platform (C3 AI / AWS IoT) | DGA Serial (Modbus) | IoT API (MQTT/HTTP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CMI | PD | PublishPartialDischarge | PD Sensor (HVPD) | IoT Platform (C3 AI / AWS IoT) | PD Sensor (IEC 61850) | IoT API (MQTT/HTTP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CMI | Analytics | StreamConditionData | IoT Platform (C3 AI / AWS IoT) | Analytics Platform | IoT API (REST) | Analytics API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CMI | Alert | GenerateConditionAlert | Analytics Platform | Condition Monitoring Engineer | Analytics API (REST) | Engineer HMI | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
CMI | WorkOrder | CreateInspectionWorkOrder | Condition Monitoring Engineer | EAM (IBM Maximo) | Engineer UI | EAM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CMI | Field | LogFieldInspectionData | Field Technician (Mobile) | IoT Platform (C3 AI / AWS IoT) | Mobile App API (OAuth2) | IoT API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
PMC | Model | TrainRULModel | Analytics Platform (SAS / Azure ML) | Analytics Platform (SAS / Azure ML) | Internal | Internal | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
PMC | Data | RequestTrainingData | Analytics Platform (SAS / Azure ML) | IoT Platform (C3 AI / AWS IoT) | Analytics API (REST) | IoT API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
PMC | Deploy | DeployInferenceModel | Analytics Platform (SAS / Azure ML) | IoT Platform (C3 AI / AWS IoT) | Analytics API (REST) | IoT API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
PMC | Inference | RunLiveInference | IoT Platform (C3 AI / AWS IoT) | Analytics Platform (SAS / Azure ML) | IoT API (REST) | Analytics API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
PMC | Alert | AlertRULCritical | Analytics Platform (SAS / Azure ML) | Reliability Engineer | Analytics API (REST) | Engineer HMI | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
PMC | Schedule | UpdateCBMSchedule | Maintenance Planner | EAM (IBM Maximo) | Planner UI | EAM API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
PMC | Report | GenerateCBMSavingsReport | Analytics Platform (SAS / Azure ML) | Asset Manager | Analytics API (REST) | Manager UI | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints

## Enterprise Resource Planning
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
Financial | AP | MatchInvoiceToPO | ERP (SAP S/4HANA) | CIS (Oracle Utilities) | SAP SOAP | CIS SOAP | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Financial | AR | ReceiveARBatch | CIS (Oracle Utilities) | ERP (SAP S/4HANA) | CIS REST API | SAP REST API | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Financial | GL | PostJournalEntry | ERP (SAP S/4HANA) | ERP (SAP S/4HANA) | Internal | Internal | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
Financial | Budget | SubmitBudgetRequest | Department Budget Owner | Budget System (SAP BPC) | Budget Web UI | SAP BPC API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Financial | Cash | ReconcileCash | ERP (SAP S/4HANA) | Bank Portal (BoA) | SAP SFTP | Bank Portal SFTP | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Financial | Payment | ExecutePaymentRun | ERP (SAP S/4HANA) | Bank Portal (BoA) | SAP EDI | Bank Portal EDI | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Financial | Close | RunMonthlyClose | ERP (SAP S/4HANA) | Reporting Database | SAP JDBC | Reporting SQL JDBC | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
HR | Time | ImportTimeSheet | Time System (Kronos) | ERP (SAP SuccessFactors) | Kronos OData | SuccessFactors OData | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
HR | Payroll | CalculatePayroll | ERP (SAP SuccessFactors) | Payroll (ADP) | SuccessFactors SFTP | ADP SFTP | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
HR | Disbursement | DisburseNetPay | Payroll (ADP) | Bank | ADP EDI | Bank EDI | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
HR | Benefits | EnrollBenefits | ERP (SAP SuccessFactors) | Benefit Carrier Portal | SuccessFactors API (REST) | Carrier API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
HR | Recruiting | PostJobRequistion | LinkedIn | ERP (SAP SuccessFactors) | LinkedIn API (REST) | SuccessFactors API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
HR | Training | EnrollInTraining | ERP (SAP SuccessFactors) | LMS (Cornerstone) | SuccessFactors SCORM | LMS SCORM | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
HR | OrgChart | MaintainOrgChart | ERP (SAP SuccessFactors) | ERP (SAP SuccessFactors) | Internal | Internal | Batch (Real-time) | Simple | Minimal near-real-time batch with basic data pass-through
Procurement | Requisition | CreateRequisition | Requisitioner | ERP (SAP MM/SRM) | SAP Web UI | SAP Internal | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Procurement | PO | SendPurchaseOrder | ERP (SAP MM/SRM) | Vendor Portal (Ariba) | SAP cXML | Ariba cXML | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Procurement | ASN | ReceiveAdvancedShipNotice | Vendor Portal (Ariba) | ERP (SAP MM/SRM) | Ariba EDI 856 | SAP EDI | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Procurement | Receipt | ReceiveGoods | Receiving Clerk (RF Scan) | ERP (SAP MM/SRM) | RF Scanner API | SAP REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Procurement | Invoice | MatchInvoiceGRIR | ERP (SAP MM/SRM) | ERP (SAP MM/SRM) | Internal | Internal | Batch (Real-time) | High | High-frequency near-real-time batch processing with minimal latency tolerance
Procurement | Contract | CreateContract | ERP (SAP MM/SRM) | ERP (SAP MM/SRM) | Internal | Internal | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Procurement | Eval | EvaluateVendor | ERP (SAP MM/SRM) | Supplier Portal | SAP REST API | Supplier Portal API (REST) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Inventory | Stock | ExecuteStockTransfer | ERP (SAP WM) | ERP (SAP WM) | SAP Internal | SAP Internal | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
Inventory | Count | PerformCycleCount | Barcode/RF Scanner | ERP (SAP WM) | Scanner API (REST) | SAP REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Inventory | Reorder | TriggerReorderPoint | ERP (SAP WM) | Inventory Planning | SAP Internal | Planning API (REST) | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
Inventory | Issue | IssueMaterialToWO | ERP (SAP WM) | EAM (Maximo) | SAP REST API | Maximo REST API | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Inventory | Review | RunMinMaxReview | ERP (SAP WM) | BI Reporting | SAP JDBC | BI SQL JDBC | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
Inventory | PhysInv | ConfirmPhysicalInventory | Barcode/RF Scanner | ERP (SAP WM) | Scanner RF API | SAP REST API | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Inventory | Reserve | CreateStockReservation | EAM (Maximo) | ERP (SAP WM) | Maximo REST API | SAP REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation

## Cybersecurity & Compliance
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
IAM | Provision | ProvisionUserFromHR | HRIS (SuccessFactors) | IAM (Okta/SailPoint) | SuccessFactors SCIM | IAM SCIM | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
IAM | Access | AssignApplicationAccess | IAM (Okta/SailPoint) | Okta | IAM REST API | Okta REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
IAM | PAM | CheckoutPrivilegedAccount | PAM (CyberArk) | SCADA AD | CyberArk RDP Proxy | SCADA RDP | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
IAM | Recert | RunAccessRecertification | IAM (Okta/SailPoint) | Manager Email | IAM REST API | Email Webhook (SMTP) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
IAM | Deprovision | DeprovisionOnTermination | IAM (Okta/SailPoint) | AD/Azure AD | IAM REST API | AD LDAP | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
IAM | Session | RecordPrivilegedSession | PAM (CyberArk) | SIEM (Splunk) | CyberArk Syslog | SIEM Syslog | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
IAM | RoleMining | AnalyzeRoleAssignments | IAM (Okta/SailPoint) | AD/Azure AD | IAM LDAP | AD LDAP | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
SIEM | OT | IngestOTLogs | OT Monitoring (Nozomi/Claroty) | SIEM (Splunk/ArcSight) | Nozomi Syslog | SIEM Syslog | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
SIEM | IT | IngestITLogs | Windows Event Collector | SIEM (Splunk/ArcSight) | WinCollect | SIEM Syslog | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
SIEM | ThreatIntel | ReceiveThreatIntelligence | Threat Feed (AlienVault) | SIEM (Splunk/ArcSight) | Threat Feed API (STIX) | SIEM API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
SIEM | Alert | CreateSOARAlert | SIEM (Splunk/ArcSight) | SOAR | SIEM REST API | SOAR REST API | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
SIEM | Ticket | CreateIncidentTicket | SOAR | ServiceNow | SOAR REST API | ServiceNow REST API | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
SIEM | Block | BlockIndicators | SOAR | Firewall (Palo Alto) | SOAR REST API | PAN-OS REST API | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
SIEM | Report | GenerateComplianceReport | SIEM (Splunk/ArcSight) | Compliance Email | SIEM REST API | SMTP Email | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
VulnMgmt | Scan | ScheduleVulnerabilityScan | Vulnerability Scanner (Tenable/Qualys) | IT/OT Assets | Scanner API (REST) | Asset Agent | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
VulnMgmt | Report | ImportVulnerabilityReport | Vulnerability Scanner (Tenable/Qualys) | ServiceNow Change Mgmt | Scanner REST API | ServiceNow REST API | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
VulnMgmt | Patch | DeployPatchSCCM | Patch Mgmt (WSUS/SCCM) | Windows Servers | SCCM GPO | Windows Update Agent | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
VulnMgmt | OTTest | TestOTPatchSandbox | Vulnerability Scanner (Tenable/Qualys) | OT Sandbox Environment | Scanner REST API (restricted) | OT Sandbox Agent | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
VulnMgmt | Change | CreateChangeTicket | ServiceNow Change Mgmt | ServiceNow Change Mgmt | Internal | Internal | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
VulnMgmt | Approval | ApprovePatchDeployment | ServiceNow Change Mgmt | Manager Email | ServiceNow Email | SMTP Email | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
VulnMgmt | Compliance | GenerateComplianceReport | Vulnerability Scanner (Tenable/Qualys) | GRC System | Scanner JDBC | GRC SQL JDBC | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
CIP | Inventory | RegisterBESAssets | OT Asset Inventory | GRC (Archer/ServiceNow IRM) | Asset DB REST API | GRC REST API | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
CIP | ESP | ManageESPBoundary | OT Network | Firewall (Palo Alto) | OT REST API | PAN-OS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
CIP | Evidence | CollectAuditEvidence | ARC (Asset/Log Source) | GRC (Archer/ServiceNow IRM) | ARC REST API | GRC REST API | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
CIP | Violation | TrackViolations | GRC (Archer/ServiceNow IRM) | NERC Portal | GRC REST API | NERC Web Portal | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
CIP | Training | ReportTrainingRecords | Training System (LMS) | GRC (Archer/ServiceNow IRM) | LMS SCORM | GRC REST API | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
CIP | Remediation | TrackRemediation | ServiceNow | GRC (Archer/ServiceNow IRM) | ServiceNow REST API | GRC REST API | Event-driven | Medium | Event-driven integration with intermediate complexity in event routing and state management
CIP | Report | GenerateComplianceReport | GRC (Archer/ServiceNow IRM) | Management Email | GRC REST API | SMTP Email | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints

## Data, Analytics & AI
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
DataLake | SCADA | IngestSCADAData | SCADA (Siemens Spectrum Power) | PI Interface Node | SCADA API (ICCP) | PI Interface (OPC-DA) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
DataLake | DCS | IngestDCSProcessData | DCS (ABB 800xA) | PI Interface Node | DCS OPC-UA | PI Interface (OPC-UA) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
DataLake | AF | MapAssetFramework | PI Interface Node | PI Asset Framework | PI API (REST) | PI AF SDK | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
DataLake | Lake | ExtractToDataLake | PI Data Archive | Data Lake (Snowflake) | PI ODBC/JDBC | Snowflake SQL | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
DataLake | Quality | MonitorDataQuality | Data Lake (Snowflake) | Data Catalog (Collibra) | Snowflake SQL | Collibra REST API | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
DataLake | Catalog | RegisterDataset | Data Lake (Snowflake) | Data Catalog (Collibra) | Snowflake SQL | Collibra REST API | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
DataLake | PI_Admin | ManagePIConnections | PI Administrator | PI Interface Node | PI Admin Console | PI API (REST) | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
GridAnalytics | Data | QueryHistoricalLoad | Data Lake (Snowflake) | Analytics Platform (Azure ML) | Snowflake SQL | Azure ML SDK (Python) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
GridAnalytics | Weather | FetchWeatherForecast | Weather Service (DTN/The Weather Co) | Analytics Platform (Azure ML) | Weather API (REST) | Azure ML REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
GridAnalytics | Model | TrainLoadForecastModel | Analytics Platform (Azure ML) | Analytics Platform (Azure ML) | Azure ML Internal | Azure ML Internal | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
GridAnalytics | Forecast | SendDAForecast | Analytics Platform (Azure ML) | EMS | Azure ML REST API | EMS API (REST) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
GridAnalytics | ISO | SubmitDASchedule | EMS | ISO Portal (PJM/MISO/CAISO) | EMS API (ICCP) | ISO API (ICCP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
GridAnalytics | DER | AnalyzeDERPenetration | Analytics Platform (Azure ML) | DERMS | Azure ML REST API | DERMS API (REST) | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
GridAnalytics | Archive | ArchiveForecastResults | Analytics Platform (Azure ML) | Data Lake (Snowflake) | Azure ML SDK | Snowflake SQL | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
CustAnalytics | Data | LoadCustomerUsage | Data Lake (Snowflake) | Analytics Platform (Python/R) | Snowflake SQL | Python JDBC | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
CustAnalytics | Cluster | RunKMeansSegmentation | Analytics Platform (Python/R) | Analytics Platform (Python/R) | Internal | Internal | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
CustAnalytics | CRM | PushSegmentsToCRM | Analytics Platform (Python/R) | CRM (Salesforce) | Python REST API | Salesforce REST API | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
CustAnalytics | Campaign | LaunchEECampaign | CRM (Salesforce) | Campaign Mgmt (Marketo) | Salesforce REST API | Marketo REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
CustAnalytics | Enroll | TrackProgramEnrollment | CRM (Salesforce) | CIS | Salesforce REST API | CIS REST API | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
CustAnalytics | M&V | CalculateEnergySavings | Analytics Platform (Python/R) | CIS | Python REST API | CIS REST API | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
CustAnalytics | Report | GenerateEEReport | Analytics Platform (Python/R) | Regulatory Portal | Python REST API | Reg Portal (REST/SOAP) | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints
AssetHealth | Sensors | IngestSensorData | SCADA Historian (PI) | IoT Platform (C3 AI / AWS IoT) | PI API (REST) | IoT Platform API (MQTT) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
AssetHealth | Features | EngineerFeatures | IoT Platform (C3 AI / AWS IoT) | Analytics Platform (Azure ML) | IoT API (REST) | Azure ML SDK | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
AssetHealth | Model | RunPredictiveModel | Analytics Platform (Azure ML / DataBricks) | Analytics Platform (Azure ML / DataBricks) | Internal | Internal | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
AssetHealth | Risk | GenerateRiskMatrix | Analytics Platform (Azure ML / DataBricks) | Visualization (Tableau) | Analytics REST API | Tableau REST API | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
AssetHealth | WO | CreateMaintenanceWO | Analytics Platform (Azure ML / DataBricks) | EAM (Maximo) | Analytics REST API | Maximo REST API | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
AssetHealth | Retrain | RetrainPredictiveModel | Analytics Platform (Azure ML / DataBricks) | Analytics Platform (Azure ML / DataBricks) | Internal | Internal | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
AssetHealth | Report | ReportCostAvoidance | Visualization (Tableau) | Maintenance Manager Email | Tableau REST API | SMTP Email | Batch (Scheduled) | Simple | Straightforward periodic data transfer with no real-time constraints

## Regulatory, Market & Environmen
Flow Name | Entity | Info Flow Name | Source System | Target System | Source Connector | Target Connector | Integration Pattern | Complexity | Complexity Reason
RegReporting | Financial | ExtractFERCForm1Data | ERP (SAP) | Regulatory Analyst | SAP JDBC | Analyst Excel/SQL | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
RegReporting | Reliability | ExtractReliabilityData | OMS | Regulatory Analyst | OMS REST API | Analyst REST API | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
RegReporting | GADS | GenerateGADSReport | EMS Historian | NERC Compliance Portal | EMS SQL JDBC | NERC Portal Web | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
RegReporting | FERC | SubmitFERCForm1 | Regulatory Analyst | FERC eForms Portal | Analyst Portal UI | FERC eForms API (SOAP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
RegReporting | PUC | RespondToDataRequest | Regulatory Analyst | GRC (Archer) | Analyst REST API | GRC REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
RegReporting | Evidence | ArchiveAuditEvidence | Regulatory Analyst | GRC (Archer) | Analyst REST API | GRC REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
RegReporting | Audit | SubmitAuditEvidence | GRC (Archer) | Auditor Portal | GRC REST API | Auditor Portal (REST) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
Market | Offer | SubmitDAOffer | Market System (ABB Promod) | ISO Portal (PJM/MISO/CAISO) | Market Sys API (ICCP) | ISO API (ICCP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Market | Clear | ReceiveDAClearing | ISO Portal (PJM/MISO/CAISO) | Market System (ABB Promod) | ISO API (ICCP) | Market Sys API (ICCP) | Event-driven | High | Mission-critical event processing requiring guaranteed delivery, sequencing, and audit trail
Market | Dispatch | SendDispatchInstruction | ISO Portal (PJM/MISO/CAISO) | EMS | ISO API (ICCP) | EMS API (ICCP) | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Market | Settlement | ImportSettlementStatement | ISO Portal (PJM/MISO/CAISO) | Market System (ABB Promod) | ISO API (REST) | Market Sys API (REST) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Market | Reconcile | ReconcileSettlement | Market System (ABB Promod) | ERP (SAP) | Market Sys JDBC | SAP JDBC | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Market | Trade | LogTradeCapture | Market System (ABB Promod) | Trade Capture System | Market Sys API (REST) | Trade Capture API (REST) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Market | Invoice | PostSettlementInvoice | Market System (ABB Promod) | ERP (SAP) | Market Sys REST API | SAP REST API | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Emissions | CEMS | SendHourlyEmissions | DCS (ABB) | CEMS Data System | DCS OPC-UA | CEMS Modbus TCP | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Emissions | QA | PerformQualityAssurance | CEMS Data System | CEMS Data System | Internal | Internal | API-led (Real-time) | High | OT/IT boundary crossing with sub-second latency and strict data fidelity requirements
Emissions | EPA | SubmitECMPSCAMD | CEMS Data System | EPA CAMD Portal | CEMS API (REST) | EPA CAMD Web Services (SOAP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Emissions | Permit | VerifyPermitCompliance | CEMS Data System | Emissions Management | CEMS REST API | Emissions Mgmt REST API | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
Emissions | Allowance | TrackRGGIAllowances | Allowance Tracking System | RGGI/CARB Portal | Allowance API (REST) | RGGI Portal API (SOAP) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
Emissions | GHG | SubmitGHGReport | Emissions Management | EPA CAMD Portal | Emissions REST API | EPA CAMD Web Services | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
Emissions | Verification | CompleteThirdPartyVerification | Third-Party Verifier | Emissions Management | Verifier Portal API | Emissions API (REST) | Batch (Scheduled) | Medium | Scheduled batch transfer requiring field mapping, validation, and exception handling
EHS | Incident | ReportNearMiss | Employee Mobile App | EHS System (Intelex/Enablon) | Mobile API (OAuth2) | EHS REST API | API-led (Real-time) | Simple | Direct API integration with minimal transformation and single-system lookup
EHS | Investigation | PerformRootCauseAnalysis | EHS System (Intelex/Enablon) | EHS System (Intelex/Enablon) | Internal | Internal | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
EHS | CAPA | TrackCorrectiveAction | EHS System (Intelex/Enablon) | EHS System (Intelex/Enablon) | Internal | Internal | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation
EHS | Training | ScheduleSafetyTraining | EHS System (Intelex/Enablon) | Training System (LMS) | EHS REST API | LMS SCORM | Event-driven | Simple | Simple event notification with fire-and-forget delivery semantics
EHS | OSHA | SubmitOSHA300Log | EHS System (Intelex/Enablon) | OSHA Portal | EHS REST API | OSHA Portal API (SOAP) | Batch (Scheduled) | High | Large-volume scheduled processing with data integrity validation and reconciliation
EHS | Dashboard | GenerateSafetyDashboard | EHS System (Intelex/Enablon) | HRIS (SuccessFactors) | EHS SQL JDBC | SuccessFactors REST API | Batch (Real-time) | Medium | Periodic near-real-time batch with data validation and transformation needs
EHS | IoT | MonitorIoTSafetySensors | IoT Safety Sensors (gas/arc flash) | EHS System (Intelex/Enablon) | Sensor MQTT | EHS API (MQTT) | API-led (Real-time) | Medium | API integration requiring moderate transformation, error handling, and data reconciliation